## Sheet1
| GSA name | delta | delta_conf | S1 | S1_conf | names | amount | from location | from name | index | input | loc | maximum | minimum | negative | output | scale | shape | to location | to name | type | uncertainty type
0 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.061409 | 0.0059096 | 0.0038503 | 0.0020234 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (53, 656) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 69242 |  |  |  | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
1 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.061409 | 0.0059096 | 0.0038503 | 0.0020234 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (92, 679) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 69242 |  |  |  | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
2 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.061409 | 0.0059096 | 0.0038503 | 0.0020234 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (14, 626) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 69242 |  |  |  | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
3 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2037 () [GLO] | 0.056839 | 0.005542 | 0.0026743 | 0.0021137 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2037 () [GLO] | 2373.9143 | GLO | aggLand cable, oil insulated, copper, HVDC | (694, 972) | ('agg_grid_components_NPi_2035', 'c32ec9eff3ad4cd391716d2d7f53b7e5') | 2373.9143 |  |  |  | ('agg_grid_expansion_prospective', '80070f472b3446c4a98f29b937f12fb8') | 237.3914 |  | GLO | agggrid_NPi_2037 | technosphere | 3
4 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.056688 | 0.0055546 | 0.0030484 | 0.0023523 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (55, 650) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 981 |  |  |  | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
5 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.056688 | 0.0055546 | 0.0030484 | 0.0023523 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (94, 665) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 981 |  |  |  | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
6 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.056688 | 0.0055546 | 0.0030484 | 0.0023523 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (211, 734) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 981 |  |  |  | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
7 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.056688 | 0.0055546 | 0.0030484 | 0.0023523 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 634) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  |  | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
8 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.056688 | 0.0055546 | 0.0030484 | 0.0023523 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (172, 700) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 981 |  |  |  | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
9 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.056688 | 0.0055546 | 0.0030484 | 0.0023523 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (133, 684) | ('agg_ei311_SSP2_NPi_2035', 'b47525cce9584473a7c35ccac6d502fe') | 981 |  |  |  | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
10 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.055539 | 0.0056924 | 0.0027689 | 0.0023153 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (55, 656) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 18466 |  |  |  | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
11 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.055539 | 0.0056924 | 0.0027689 | 0.0023153 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (94, 679) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 18466 |  |  |  | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
12 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.055539 | 0.0056924 | 0.0027689 | 0.0023153 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (16, 626) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 18466 |  |  |  | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
13 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.054554 | 0.005423 | 0.002036 | 0.0020161 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (53, 643) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 24852 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
14 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.054554 | 0.005423 | 0.002036 | 0.0020161 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (92, 662) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 24852 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
15 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.054554 | 0.005423 | 0.002036 | 0.0020161 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (209, 726) | ('agg_ei311_SSP2_NPi_2040', '2d61a7fe597741859c6cd8ec5748fbbd') | 24852 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
16 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.054554 | 0.005423 | 0.002036 | 0.0020161 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (170, 702) | ('agg_ei311_SSP2_NPi_2037', '39ca4c6244c64865a10942ea5c2e6e14') | 24852 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
17 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2045 () [GLO] | 0.053946 | 0.0055788 | 0.0013532 | 0.0025763 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2045 () [GLO] | 87169.9539 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (734, 974) | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 87169.9539 |  |  |  | ('agg_grid_expansion_prospective', '129e8bdeef374af09f607231460cb977') | 8716.9954 |  | GLO | agggrid_NPi_2045 | technosphere | 3
18 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052028 | 0.006086 | 0.0044749 | 0.0023519 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (55, 643) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 7300 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
19 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052028 | 0.006086 | 0.0044749 | 0.0023519 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (94, 662) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 7300 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
20 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052028 | 0.006086 | 0.0044749 | 0.0023519 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (211, 726) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 7300 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
21 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052028 | 0.006086 | 0.0044749 | 0.0023519 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 631) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  |  | ('agg_grid_components_NPi_2023', '00ba6552bd5e4177a2bc79e6989c7911') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
22 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052028 | 0.006086 | 0.0044749 | 0.0023519 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (172, 702) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 7300 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
23 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_NPi_2045 () [GLO] | 0.051891 | 0.0053673 | 0.0028135 | 0.0021959 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_NPi_2045 () [GLO] | 14980.2458 | GLO | aggLand cable, epr insulated, copper, 11kV | (719, 974) | ('agg_grid_components_NPi_2040', 'fa49748de8004ad0bdfd8bb572357a32') | 14980.2458 |  |  |  | ('agg_grid_expansion_prospective', '129e8bdeef374af09f607231460cb977') | 1498.0246 |  | GLO | agggrid_NPi_2045 | technosphere | 3
24 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2037 () [GLO] | 0.050996 | 0.0059531 | 0.0025283 | 0.002467 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2037 () [GLO] | 1689 | GLO | aggOverhead line, 400kV | (683, 972) | ('agg_grid_components_NPi_2035', '162699ccd8f24b9a9d16f4f9f225f4c7') | 1689 |  |  |  | ('agg_grid_expansion_prospective', '80070f472b3446c4a98f29b937f12fb8') | 168.9 |  | GLO | agggrid_NPi_2037 | technosphere | 3
25 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2030 () [GLO] | 0.050918 | 0.0049637 | 0.002142 | 0.0022315 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2030 () [GLO] | 94025.2722 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (650, 973) | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 94025.2722 |  |  |  | ('agg_grid_expansion_prospective', '5275b71d4742478394f6f3f3dfe3e1b0') | 9402.5272 |  | GLO | agggrid_NPi_2030 | technosphere | 3
26 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.049696 | 0.00568 | 0.0041676 | 0.0021172 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (53, 643) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 24852 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
27 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.049696 | 0.00568 | 0.0041676 | 0.0021172 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (92, 662) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 24852 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
28 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.049696 | 0.00568 | 0.0041676 | 0.0021172 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (209, 726) | ('agg_ei311_SSP2_NPi_2040', '2d61a7fe597741859c6cd8ec5748fbbd') | 24852 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
29 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.049696 | 0.00568 | 0.0041676 | 0.0021172 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (170, 702) | ('agg_ei311_SSP2_NPi_2037', '39ca4c6244c64865a10942ea5c2e6e14') | 24852 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
30 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_NPi_2045 () [GLO] | 0.048945 | 0.0061769 | 0.0051317 | 0.002401 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_NPi_2045 () [GLO] | 24778.8779 | GLO | aggLand cable, vpe insulated, aluminium, 10kV | (729, 974) | ('agg_grid_components_NPi_2040', '2740523bd81b4da0a9b0580c3b28ddc3') | 24778.8779 |  |  |  | ('agg_grid_expansion_prospective', '129e8bdeef374af09f607231460cb977') | 2477.8878 |  | GLO | agggrid_NPi_2045 | technosphere | 3
31 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04891 | 0.0052809 | 0.002675 | 0.0024327 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (55, 650) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 981 |  |  |  | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
32 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04891 | 0.0052809 | 0.002675 | 0.0024327 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (94, 665) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 981 |  |  |  | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
33 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04891 | 0.0052809 | 0.002675 | 0.0024327 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (211, 734) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 981 |  |  |  | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
34 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04891 | 0.0052809 | 0.002675 | 0.0024327 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 634) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  |  | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
35 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04891 | 0.0052809 | 0.002675 | 0.0024327 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (172, 700) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 981 |  |  |  | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
36 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04891 | 0.0052809 | 0.002675 | 0.0024327 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (133, 684) | ('agg_ei311_SSP2_NPi_2035', 'b47525cce9584473a7c35ccac6d502fe') | 981 |  |  |  | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
37 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 0.048302 | 0.0053846 | 0.004703 | 0.0025918 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 4663 | GLO | aggmarket for copper, cathode | (214, 719) | ('agg_ei311_SSP2_NPi_2040', '129a4d4159a9417682bc8eca03eab509') | 4663 |  |  |  | ('agg_grid_components_NPi_2040', 'fa49748de8004ad0bdfd8bb572357a32') | 466.3 |  | GLO | aggLand cable, epr insulated, copper, 11kV | technosphere | 3
38 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 0.048302 | 0.0053846 | 0.004703 | 0.0025918 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 4663 | GLO | aggmarket for copper, cathode | (58, 660) | ('agg_ei311_SSP2_NPi_2025', '512091b9d7974b2889b37fac39198997') | 4663 |  |  |  | ('agg_grid_components_NPi_2025', 'd128d2ead24b4e50a8b8fe72873e88cb') | 466.3 |  | GLO | aggLand cable, epr insulated, copper, 11kV | technosphere | 3
39 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_NPi_2030 () [GLO] | 0.048175 | 0.0060013 | 0.00096377 | 0.0019636 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_NPi_2030 () [GLO] | 8560.1404 | GLO | aggLand cable, epr insulated, copper, 11kV | (660, 973) | ('agg_grid_components_NPi_2025', 'd128d2ead24b4e50a8b8fe72873e88cb') | 8560.1404 |  |  |  | ('agg_grid_expansion_prospective', '5275b71d4742478394f6f3f3dfe3e1b0') | 856.014 |  | GLO | agggrid_NPi_2030 | technosphere | 3
40 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2030 () [GLO] | 0.047257 | 0.0061614 | 0.0045978 | 0.0021307 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2030 () [GLO] | 5934.7857 | GLO | aggLand cable, oil insulated, copper, HVDC | (659, 973) | ('agg_grid_components_NPi_2025', '518c373528ac48c09bfea7dcb020282f') | 5934.7857 |  |  |  | ('agg_grid_expansion_prospective', '5275b71d4742478394f6f3f3dfe3e1b0') | 593.4786 |  | GLO | agggrid_NPi_2030 | technosphere | 3
41 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2035 () [GLO] | 0.046674 | 0.0059129 | 0.0014682 | 0.0025031 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2035 () [GLO] | 5934.7857 | GLO | aggLand cable, oil insulated, copper, HVDC | (674, 975) | ('agg_grid_components_NPi_2030', 'e78b17a43ece40aeb4c3ec900a60663a') | 5934.7857 |  |  |  | ('agg_grid_expansion_prospective', 'cf94ed459ec84b38af11b58a21175e2e') | 593.4786 |  | GLO | agggrid_NPi_2035 | technosphere | 3
42 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.046527 | 0.0056079 | 0.0045882 | 0.0021641 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (53, 643) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 24852 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
43 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.046527 | 0.0056079 | 0.0045882 | 0.0021641 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (92, 662) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 24852 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
44 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.046527 | 0.0056079 | 0.0045882 | 0.0021641 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (209, 726) | ('agg_ei311_SSP2_NPi_2040', '2d61a7fe597741859c6cd8ec5748fbbd') | 24852 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
45 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.046527 | 0.0056079 | 0.0045882 | 0.0021641 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (170, 702) | ('agg_ei311_SSP2_NPi_2037', '39ca4c6244c64865a10942ea5c2e6e14') | 24852 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
46 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2025 () [GLO] | 0.046428 | 0.0053526 | 0.0065686 | 0.0021453 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2025 () [GLO] | 2373.9143 | GLO | aggLand cable, oil insulated, copper, HVDC | (635, 978) | ('agg_grid_components_NPi_2023', '306083d94f29413d9e0e7572d0d1053b') | 2373.9143 |  |  |  | ('agg_grid_expansion_prospective', '34492afe07934043b176511d8b4f2cae') | 237.3914 |  | GLO | agggrid_NPi_2025 | technosphere | 3
47 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_NPi_2035 () [GLO] | 0.045885 | 0.0054153 | 0.0042216 | 0.0022469 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_NPi_2035 () [GLO] | 8560.1404 | GLO | aggLand cable, epr insulated, copper, 11kV | (677, 975) | ('agg_grid_components_NPi_2030', '8ad539a808f84d749e005bdda9b26f4d') | 8560.1404 |  |  |  | ('agg_grid_expansion_prospective', 'cf94ed459ec84b38af11b58a21175e2e') | 856.014 |  | GLO | agggrid_NPi_2035 | technosphere | 3
48 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045384 | 0.0058554 | 0.0035341 | 0.0018943 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (55, 643) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 7300 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
49 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045384 | 0.0058554 | 0.0035341 | 0.0018943 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (94, 662) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 7300 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
50 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045384 | 0.0058554 | 0.0035341 | 0.0018943 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (211, 726) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 7300 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
51 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045384 | 0.0058554 | 0.0035341 | 0.0018943 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 631) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  |  | ('agg_grid_components_NPi_2023', '00ba6552bd5e4177a2bc79e6989c7911') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
52 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045384 | 0.0058554 | 0.0035341 | 0.0018943 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (172, 702) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 7300 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
53 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2025 () [GLO] | 0.045381 | 0.0060011 | 0.0025321 | 0.002149 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2025 () [GLO] | 3831.1503 | GLO | aggOverhead line, 150kV | (631, 978) | ('agg_grid_components_NPi_2023', '00ba6552bd5e4177a2bc79e6989c7911') | 3831.1503 |  |  |  | ('agg_grid_expansion_prospective', '34492afe07934043b176511d8b4f2cae') | 383.115 |  | GLO | agggrid_NPi_2025 | technosphere | 3
54 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2040 () [GLO] | 0.045233 | 0.0053061 | 0.0029818 | 0.0020826 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2040 () [GLO] | 5363.2314 | GLO | aggOverhead line, 150kV | (702, 968) | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 5363.2314 |  |  |  | ('agg_grid_expansion_prospective', '28f4f59e7eb54f199eb390e898a820ff') | 536.3231 |  | GLO | agggrid_NPi_2040 | technosphere | 3
55 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2045 () [GLO] | 0.04457 | 0.0052897 | 0.0032177 | 0.0023055 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_NPi_2045 () [GLO] | 2780.5312 | GLO | aggLand cable, oil insulated, copper, HVDC | (737, 974) | ('agg_grid_components_NPi_2040', 'dc07ad70115245ecae6b52304b75f872') | 2780.5312 |  |  |  | ('agg_grid_expansion_prospective', '129e8bdeef374af09f607231460cb977') | 278.0531 |  | GLO | agggrid_NPi_2045 | technosphere | 3
56 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044375 | 0.0066014 | 0.0032387 | 0.0021214 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (55, 643) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 7300 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
57 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044375 | 0.0066014 | 0.0032387 | 0.0021214 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (94, 662) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 7300 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
58 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044375 | 0.0066014 | 0.0032387 | 0.0021214 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (211, 726) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 7300 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
59 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044375 | 0.0066014 | 0.0032387 | 0.0021214 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 631) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  |  | ('agg_grid_components_NPi_2023', '00ba6552bd5e4177a2bc79e6989c7911') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
60 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044375 | 0.0066014 | 0.0032387 | 0.0021214 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (172, 702) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 7300 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
61 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2030 () [GLO] | 0.044295 | 0.0048952 | 0.0041525 | 0.0022898 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2030 () [GLO] | 4222.5 | GLO | aggOverhead line, 400kV | (656, 973) | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 4222.5 |  |  |  | ('agg_grid_expansion_prospective', '5275b71d4742478394f6f3f3dfe3e1b0') | 422.25 |  | GLO | agggrid_NPi_2030 | technosphere | 3
62 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044163 | 0.0056373 | 0.0057178 | 0.0020773 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (55, 643) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 7300 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
63 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044163 | 0.0056373 | 0.0057178 | 0.0020773 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (94, 662) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 7300 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
64 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044163 | 0.0056373 | 0.0057178 | 0.0020773 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (211, 726) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 7300 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
65 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044163 | 0.0056373 | 0.0057178 | 0.0020773 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 631) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  |  | ('agg_grid_components_NPi_2023', '00ba6552bd5e4177a2bc79e6989c7911') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
66 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044163 | 0.0056373 | 0.0057178 | 0.0020773 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (172, 702) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 7300 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
67 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.044096 | 0.0053685 | 0.0029169 | 0.0021052 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (55, 650) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 981 |  |  |  | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
68 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.044096 | 0.0053685 | 0.0029169 | 0.0021052 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (94, 665) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 981 |  |  |  | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
69 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.044096 | 0.0053685 | 0.0029169 | 0.0021052 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (211, 734) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 981 |  |  |  | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
70 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.044096 | 0.0053685 | 0.0029169 | 0.0021052 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 634) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  |  | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
71 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.044096 | 0.0053685 | 0.0029169 | 0.0021052 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (172, 700) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 981 |  |  |  | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
72 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.044096 | 0.0053685 | 0.0029169 | 0.0021052 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (133, 684) | ('agg_ei311_SSP2_NPi_2035', 'b47525cce9584473a7c35ccac6d502fe') | 981 |  |  |  | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
73 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.043802 | 0.0052578 | 0.0018569 | 0.0020703 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (58, 659) | ('agg_ei311_SSP2_NPi_2025', '512091b9d7974b2889b37fac39198997') | 14700 |  |  |  | ('agg_grid_components_NPi_2025', '518c373528ac48c09bfea7dcb020282f') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
74 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.043802 | 0.0052578 | 0.0018569 | 0.0020703 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (97, 674) | ('agg_ei311_SSP2_NPi_2030', '9f6d14adea7843968352a5239eb187d5') | 14700 |  |  |  | ('agg_grid_components_NPi_2030', 'e78b17a43ece40aeb4c3ec900a60663a') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
75 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.043674 | 0.0058734 | 0.0049736 | 0.0024306 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (53, 656) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 69242 |  |  |  | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
76 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.043674 | 0.0058734 | 0.0049736 | 0.0024306 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (92, 679) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 69242 |  |  |  | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
77 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.043674 | 0.0058734 | 0.0049736 | 0.0024306 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (14, 626) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 69242 |  |  |  | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
78 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 0.043407 | 0.0060003 | 0.0040651 | 0.002058 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 4663 | GLO | aggmarket for copper, cathode | (214, 719) | ('agg_ei311_SSP2_NPi_2040', '129a4d4159a9417682bc8eca03eab509') | 4663 |  |  |  | ('agg_grid_components_NPi_2040', 'fa49748de8004ad0bdfd8bb572357a32') | 466.3 |  | GLO | aggLand cable, epr insulated, copper, 11kV | technosphere | 3
79 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 0.043407 | 0.0060003 | 0.0040651 | 0.002058 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 4663 | GLO | aggmarket for copper, cathode | (58, 660) | ('agg_ei311_SSP2_NPi_2025', '512091b9d7974b2889b37fac39198997') | 4663 |  |  |  | ('agg_grid_components_NPi_2025', 'd128d2ead24b4e50a8b8fe72873e88cb') | 466.3 |  | GLO | aggLand cable, epr insulated, copper, 11kV | technosphere | 3
80 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.042781 | 0.0061065 | 0.0024565 | 0.0020752 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (55, 656) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 18466 |  |  |  | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
81 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.042781 | 0.0061065 | 0.0024565 | 0.0020752 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (94, 679) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 18466 |  |  |  | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
82 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.042781 | 0.0061065 | 0.0024565 | 0.0020752 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (16, 626) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 18466 |  |  |  | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
83 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2030 () [GLO] | 0.042681 | 0.0059083 | 0.003586 | 0.0021952 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2030 () [GLO] | 9577.8756 | GLO | aggOverhead line, 150kV | (643, 973) | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 9577.8756 |  |  |  | ('agg_grid_expansion_prospective', '5275b71d4742478394f6f3f3dfe3e1b0') | 957.7876 |  | GLO | agggrid_NPi_2030 | technosphere | 3
84 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.042412 | 0.0058237 | 0.0016736 | 0.0019672 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (53, 656) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 69242 |  |  |  | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
85 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.042412 | 0.0058237 | 0.0016736 | 0.0019672 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (92, 679) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 69242 |  |  |  | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
86 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.042412 | 0.0058237 | 0.0016736 | 0.0019672 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (14, 626) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 69242 |  |  |  | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
87 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_NPi_2030 () [GLO] | 0.041514 | 0.0056078 | 0.0038549 | 0.0022181 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_NPi_2030 () [GLO] | 25680.4213 | GLO | aggLand cable, vpe insulated, aluminium, 10kV | (655, 973) | ('agg_grid_components_NPi_2025', 'a11c13e2ae49496b9873f0022a996001') | 25680.4213 |  |  |  | ('agg_grid_expansion_prospective', '5275b71d4742478394f6f3f3dfe3e1b0') | 2568.0421 |  | GLO | agggrid_NPi_2030 | technosphere | 3
88 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04121 | 0.005799 | 0.002425 | 0.0023117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (55, 650) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 981 |  |  |  | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
89 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04121 | 0.005799 | 0.002425 | 0.0023117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (94, 665) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 981 |  |  |  | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
90 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04121 | 0.005799 | 0.002425 | 0.0023117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (211, 734) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 981 |  |  |  | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
91 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04121 | 0.005799 | 0.002425 | 0.0023117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 634) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  |  | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
92 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04121 | 0.005799 | 0.002425 | 0.0023117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (172, 700) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 981 |  |  |  | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
93 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.04121 | 0.005799 | 0.002425 | 0.0023117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (133, 684) | ('agg_ei311_SSP2_NPi_2035', 'b47525cce9584473a7c35ccac6d502fe') | 981 |  |  |  | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
94 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2025 () [GLO] | 0.041188 | 0.0054093 | 0.0030313 | 0.0021099 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2025 () [GLO] | 1689 | GLO | aggOverhead line, 400kV | (626, 978) | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 1689 |  |  | FALSE | ('agg_grid_expansion_prospective', '34492afe07934043b176511d8b4f2cae') | 168.9 |  | GLO | agggrid_NPi_2025 | technosphere | 3
95 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2025 () [GLO] | 0.041159 | 0.0060435 | 0.0018448 | 0.0022555 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2025 () [GLO] | 37610.1089 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (634, 978) | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 37610.1089 |  |  |  | ('agg_grid_expansion_prospective', '34492afe07934043b176511d8b4f2cae') | 3761.0109 |  | GLO | agggrid_NPi_2025 | technosphere | 3
96 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2035 () [GLO] | 0.0411 | 0.0064264 | 0.0057301 | 0.0022653 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_NPi_2035 () [GLO] | 4222.5 | GLO | aggOverhead line, 400kV | (679, 975) | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 4222.5 |  |  |  | ('agg_grid_expansion_prospective', 'cf94ed459ec84b38af11b58a21175e2e') | 422.25 |  | GLO | agggrid_NPi_2035 | technosphere | 3
97 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2035 () [GLO] | 0.040833 | 0.0058727 | 0.003299 | 0.0022915 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2035 () [GLO] | 9577.8756 | GLO | aggOverhead line, 150kV | (662, 975) | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 9577.8756 |  |  |  | ('agg_grid_expansion_prospective', 'cf94ed459ec84b38af11b58a21175e2e') | 957.7876 |  | GLO | agggrid_NPi_2035 | technosphere | 3
98 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2037 () [GLO] | 0.0398 | 0.0049294 | 0.0035781 | 0.0024546 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2037 () [GLO] | 37610.1089 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (684, 972) | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 37610.1089 |  |  |  | ('agg_grid_expansion_prospective', '80070f472b3446c4a98f29b937f12fb8') | 3761.0109 |  | GLO | agggrid_NPi_2037 | technosphere | 3
99 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2037 () [GLO] | 0.039557 | 0.0051252 | 0.002594 | 0.0022612 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2037 () [GLO] | 3831.1503 | GLO | aggOverhead line, 150kV | (699, 972) | ('agg_grid_components_NPi_2035', '7045698beaa842c8a99b7756a00e9bde') | 3831.1503 |  |  |  | ('agg_grid_expansion_prospective', '80070f472b3446c4a98f29b937f12fb8') | 383.115 |  | GLO | agggrid_NPi_2037 | technosphere | 3
100 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2045 () [GLO] | 0.03899 | 0.0060717 | 0.0036226 | 0.0023963 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_NPi_2045 () [GLO] | 8938.719 | GLO | aggOverhead line, 150kV | (726, 974) | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 8938.719 |  |  |  | ('agg_grid_expansion_prospective', '129e8bdeef374af09f607231460cb977') | 893.8719 |  | GLO | agggrid_NPi_2045 | technosphere | 3
101 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038779 | 0.0059616 | 0.0015527 | 0.0023415 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (55, 650) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 981 |  |  |  | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
102 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038779 | 0.0059616 | 0.0015527 | 0.0023415 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (94, 665) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 981 |  |  |  | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
103 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038779 | 0.0059616 | 0.0015527 | 0.0023415 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (211, 734) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 981 |  |  |  | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
104 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038779 | 0.0059616 | 0.0015527 | 0.0023415 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 634) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  |  | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
105 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038779 | 0.0059616 | 0.0015527 | 0.0023415 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (172, 700) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 981 |  |  |  | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
106 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038779 | 0.0059616 | 0.0015527 | 0.0023415 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (133, 684) | ('agg_ei311_SSP2_NPi_2035', 'b47525cce9584473a7c35ccac6d502fe') | 981 |  |  |  | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
107 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2040 () [GLO] | 0.038173 | 0.0052374 | 0.0028696 | 0.0018951 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2040 () [GLO] | 52301.9724 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (700, 968) | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 52301.9724 |  |  |  | ('agg_grid_expansion_prospective', '28f4f59e7eb54f199eb390e898a820ff') | 5230.1972 |  | GLO | agggrid_NPi_2040 | technosphere | 3
108 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038093 | 0.006123 | 0.0036742 | 0.0019576 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (55, 650) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 981 |  |  |  | ('agg_grid_components_NPi_2025', 'b6b61fe8249844898058c3d345df38a8') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
109 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038093 | 0.006123 | 0.0036742 | 0.0019576 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (94, 665) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 981 |  |  |  | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
110 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038093 | 0.006123 | 0.0036742 | 0.0019576 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (211, 734) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 981 |  |  |  | ('agg_grid_components_NPi_2040', 'b27ad5e362c74816a6bfbb545006834d') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
111 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038093 | 0.006123 | 0.0036742 | 0.0019576 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 634) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  |  | ('agg_grid_components_NPi_2023', '1ad7fff03d6c421c8f21eb8c2e71a37a') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
112 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038093 | 0.006123 | 0.0036742 | 0.0019576 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (172, 700) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 981 |  |  |  | ('agg_grid_components_NPi_2037', 'a39fc96f73374ce28ed368da2f3fdab4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
113 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038093 | 0.006123 | 0.0036742 | 0.0019576 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (133, 684) | ('agg_ei311_SSP2_NPi_2035', 'b47525cce9584473a7c35ccac6d502fe') | 981 |  |  |  | ('agg_grid_components_NPi_2035', 'f768910a3b594d4e9b85a5afa050f5b2') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
114 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_NPi_2035 () [GLO] | 0.037851 | 0.0056545 | 0.0052181 | 0.0027297 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_NPi_2035 () [GLO] | 25680.4213 | GLO | aggLand cable, vpe insulated, aluminium, 10kV | (669, 975) | ('agg_grid_components_NPi_2030', '6d86aea1d9d24a16888b425aba1ceb59') | 25680.4213 |  |  |  | ('agg_grid_expansion_prospective', 'cf94ed459ec84b38af11b58a21175e2e') | 2568.0421 |  | GLO | agggrid_NPi_2035 | technosphere | 3
115 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.037713 | 0.005871 | 0.0036578 | 0.0023479 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (55, 643) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 7300 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
116 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.037713 | 0.005871 | 0.0036578 | 0.0023479 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (94, 662) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 7300 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
117 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.037713 | 0.005871 | 0.0036578 | 0.0023479 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (211, 726) | ('agg_ei311_SSP2_NPi_2040', 'fdf89dc09c594c39b577ff98bfcb4ae4') | 7300 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
118 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.037713 | 0.005871 | 0.0036578 | 0.0023479 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 631) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  |  | ('agg_grid_components_NPi_2023', '00ba6552bd5e4177a2bc79e6989c7911') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
119 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.037713 | 0.005871 | 0.0036578 | 0.0023479 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (172, 702) | ('agg_ei311_SSP2_NPi_2037', '25d10448b5d349daa67abed7a74065b9') | 7300 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
120 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.037575 | 0.0058373 | 0.0024421 | 0.0024889 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (58, 659) | ('agg_ei311_SSP2_NPi_2025', '512091b9d7974b2889b37fac39198997') | 14700 |  |  |  | ('agg_grid_components_NPi_2025', '518c373528ac48c09bfea7dcb020282f') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
121 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.037575 | 0.0058373 | 0.0024421 | 0.0024889 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (97, 674) | ('agg_ei311_SSP2_NPi_2030', '9f6d14adea7843968352a5239eb187d5') | 14700 |  |  |  | ('agg_grid_components_NPi_2030', 'e78b17a43ece40aeb4c3ec900a60663a') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
122 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.036667 | 0.0061143 | 0.0039908 | 0.0024418 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (55, 656) | ('agg_ei311_SSP2_NPi_2025', '068bae1fe5f14ac89375cae252d6c954') | 18466 |  |  |  | ('agg_grid_components_NPi_2025', 'c3db7efc7630429eba3abf7c6af10ca7') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
123 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.036667 | 0.0061143 | 0.0039908 | 0.0024418 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (94, 679) | ('agg_ei311_SSP2_NPi_2030', '35b76c151c724a15952177b6bb07ed74') | 18466 |  |  |  | ('agg_grid_components_NPi_2030', '91e0d06d85d14c4b993c72da2e07868c') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
124 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.036667 | 0.0061143 | 0.0039908 | 0.0024418 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (16, 626) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 18466 |  |  |  | ('agg_grid_components_NPi_2023', '07ee18a0ad0943879acd167f4c9c39b6') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
125 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2035 () [GLO] | 0.035499 | 0.0063621 | 0.0025894 | 0.0020306 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_NPi_2035 () [GLO] | 94025.2722 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (665, 975) | ('agg_grid_components_NPi_2030', '7633a69158934723948f4622d1a648df') | 94025.2722 |  |  |  | ('agg_grid_expansion_prospective', 'cf94ed459ec84b38af11b58a21175e2e') | 9402.5272 |  | GLO | agggrid_NPi_2035 | technosphere | 3
126 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.033405 | 0.0053386 | 0.003089 | 0.0021609 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (53, 643) | ('agg_ei311_SSP2_NPi_2025', 'cdf900ca85104e3cbf6fe717d4b332e8') | 24852 |  |  |  | ('agg_grid_components_NPi_2025', 'f168fe97afbc44cf9805c52ea308b659') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
127 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.033405 | 0.0053386 | 0.003089 | 0.0021609 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (92, 662) | ('agg_ei311_SSP2_NPi_2030', 'eecda885475b489e886ba24cab0e8a55') | 24852 |  |  |  | ('agg_grid_components_NPi_2030', '17dae8b7587541cfbdad21d38b2b83de') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
128 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.033405 | 0.0053386 | 0.003089 | 0.0021609 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (209, 726) | ('agg_ei311_SSP2_NPi_2040', '2d61a7fe597741859c6cd8ec5748fbbd') | 24852 |  |  |  | ('agg_grid_components_NPi_2040', '0f9e4bafeb884c9b8e9c4a86677d71f2') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
129 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.033405 | 0.0053386 | 0.003089 | 0.0021609 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (170, 702) | ('agg_ei311_SSP2_NPi_2037', '39ca4c6244c64865a10942ea5c2e6e14') | 24852 |  |  |  | ('agg_grid_components_NPi_2037', '62226f52f7d0459385bd0a09a8246d64') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3