## Sheet1
| GSA name | delta | delta_conf | S1 | S1_conf | names | amount | from location | from name | index | input | loc | maximum | minimum | output | scale | shape | to location | to name | type | uncertainty type
0 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.054318 | 0.0051688 | 0.0058304 | 0.0021235 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (445, 883) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 18466 |  |  | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
1 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.054318 | 0.0051688 | 0.0058304 | 0.0021235 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (484, 903) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 18466 |  |  | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
2 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.054318 | 0.0051688 | 0.0058304 | 0.0021235 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (16, 867) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 18466 |  |  | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
3 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052615 | 0.0055756 | 0.0036095 | 0.0024703 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (445, 885) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 7300 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
4 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052615 | 0.0055756 | 0.0036095 | 0.0024703 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (484, 899) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 7300 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
5 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052615 | 0.0055756 | 0.0036095 | 0.0024703 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 868) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
6 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052615 | 0.0055756 | 0.0036095 | 0.0024703 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (601, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 7300 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
7 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052553 | 0.0054542 | 0.0024418 | 0.0023339 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (443, 885) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 24852 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
8 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052553 | 0.0054542 | 0.0024418 | 0.0023339 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (482, 899) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 24852 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
9 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052553 | 0.0054542 | 0.0024418 | 0.0023339 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (14, 868) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 24852 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
10 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.052553 | 0.0054542 | 0.0024418 | 0.0023339 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (599, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '32d989b73e144e2ebfb4b8d64ec1da09') | 24852 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
11 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.050421 | 0.0053525 | 0.0022614 | 0.0021983 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (445, 883) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 18466 |  |  | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
12 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.050421 | 0.0053525 | 0.0022614 | 0.0021983 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (484, 903) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 18466 |  |  | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
13 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.050421 | 0.0053525 | 0.0022614 | 0.0021983 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (16, 867) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 18466 |  |  | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
14 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 0.050379 | 0.0055345 | 0.0030592 | 0.0022061 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 3831.1503 | GLO | aggOverhead line, 150kV | (912, 976) | ('agg_grid_components_PkBudg650_2035', '375ac106762b4843b7b36f60883fa2be') | 3831.1503 |  |  | ('agg_grid_expansion_prospective', 'e8c58eb5a3db4ab28c54ba07a45adbcf') | 383.115 |  | GLO | agggrid_PkBudg650_2037 | technosphere | 3
15 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 0.049932 | 0.0062976 | 0.0039791 | 0.0021162 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, epr insulated, copper, 11kV () [GLO] | 4663 | GLO | aggmarket for copper, cathode | (448, 872) | ('agg_ei311_SSP2_PkBudg650_2025', '596060cffad34db8881ce657383f8b64') | 4663 |  |  | ('agg_grid_components_PkBudg650_2025', 'da022fe9c9ae421eb3714eba243cb0b8') | 466.3 |  | GLO | aggLand cable, epr insulated, copper, 11kV | technosphere | 3
16 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.049902 | 0.0059513 | 0.003977 | 0.0021677 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (443, 883) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 69242 |  |  | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
17 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.049902 | 0.0059513 | 0.003977 | 0.0021677 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (482, 903) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 69242 |  |  | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
18 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.049902 | 0.0059513 | 0.003977 | 0.0021677 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (14, 867) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 69242 |  |  | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
19 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 0.049861 | 0.0060871 | 0.0024595 | 0.0021888 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 5934.7857 | GLO | aggLand cable, oil insulated, copper, HVDC | (886, 966) | ('agg_grid_components_PkBudg650_2025', '023e32a8830a41a3a014c101e0a36229') | 5934.7857 |  |  | ('agg_grid_expansion_prospective', 'ca1d4ded108d4205bd5a5329ac710188') | 593.4786 |  | GLO | agggrid_PkBudg650_2030 | technosphere | 3
20 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 0.048808 | 0.0059939 | 0.0052375 | 0.0021968 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 24778.8779 | GLO | aggLand cable, vpe insulated, aluminium, 10kV | (958, 970) | ('agg_grid_components_PkBudg650_2040', 'ca05189d705c4a278a65bb7b2d8e739c') | 24778.8779 |  |  | ('agg_grid_expansion_prospective', 'd255262e87634a91beee199c2050b39d') | 2477.8878 |  | GLO | agggrid_PkBudg650_2045 | technosphere | 3
21 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 0.048619 | 0.0063582 | 0.0028228 | 0.0021098 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 4222.5 | GLO | aggOverhead line, 400kV | (883, 966) | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 4222.5 |  |  | ('agg_grid_expansion_prospective', 'ca1d4ded108d4205bd5a5329ac710188') | 422.25 |  | GLO | agggrid_PkBudg650_2030 | technosphere | 3
22 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 0.048612 | 0.0063858 | 0.0042172 | 0.0021926 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 25680.4213 | GLO | aggLand cable, vpe insulated, aluminium, 10kV | (902, 969) | ('agg_grid_components_PkBudg650_2030', 'aaf98521252441c090b7b08a8e3f1f8c') | 25680.4213 |  |  | ('agg_grid_expansion_prospective', '4110d941304845a696391a224c186de9') | 2568.0421 |  | GLO | agggrid_PkBudg650_2035 | technosphere | 3
23 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.048027 | 0.0059628 | 0.0020502 | 0.0021989 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (445, 885) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 7300 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
24 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.048027 | 0.0059628 | 0.0020502 | 0.0021989 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (484, 899) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 7300 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
25 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.048027 | 0.0059628 | 0.0020502 | 0.0021989 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 868) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
26 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.048027 | 0.0059628 | 0.0020502 | 0.0021989 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (601, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 7300 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
27 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.047085 | 0.0053709 | 0.0032246 | 0.002454 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (445, 888) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 981 |  |  | ('agg_grid_components_PkBudg650_2025', '04976f0700474d3ab45a323a3250a606') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
28 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.047085 | 0.0053709 | 0.0032246 | 0.002454 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (484, 908) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 981 |  |  | ('agg_grid_components_PkBudg650_2030', '3ff01a280185494aa841771a62845f56') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
29 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.047085 | 0.0053709 | 0.0032246 | 0.002454 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 861) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  | ('agg_grid_components_PkBudg650_2023', '7eb54f1c06de4c3bba31a7fa4be4e57b') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
30 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.047085 | 0.0053709 | 0.0032246 | 0.002454 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (601, 949) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 981 |  |  | ('agg_grid_components_PkBudg650_2040', '7ee96d28c4c64fbca9ce23af0c7dcaa4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
31 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.047085 | 0.0053709 | 0.0032246 | 0.002454 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (562, 940) | ('agg_ei311_SSP2_PkBudg650_2037', '11db2b16ca974240b1d129266120e641') | 981 |  |  | ('agg_grid_components_PkBudg650_2037', 'bfdce862205b4dee86d010e5d64adc08') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
32 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 0.046544 | 0.0056236 | 0.0029235 | 0.0024 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 37610.1089 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (861, 977) | ('agg_grid_components_PkBudg650_2023', '7eb54f1c06de4c3bba31a7fa4be4e57b') | 37610.1089 |  |  | ('agg_grid_expansion_prospective', 'f9cccd2ee80a449ca453f53fc30e9090') | 3761.0109 |  | GLO | agggrid_PkBudg650_2025 | technosphere | 3
33 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045956 | 0.005886 | 0.0032694 | 0.0022655 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (443, 885) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 24852 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
34 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045956 | 0.005886 | 0.0032694 | 0.0022655 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (482, 899) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 24852 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
35 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045956 | 0.005886 | 0.0032694 | 0.0022655 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (14, 868) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 24852 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
36 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.045956 | 0.005886 | 0.0032694 | 0.0022655 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (599, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '32d989b73e144e2ebfb4b8d64ec1da09') | 24852 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
37 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.04567 | 0.005669 | 0.0037561 | 0.0021469 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (443, 883) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 69242 |  |  | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
38 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.04567 | 0.005669 | 0.0037561 | 0.0021469 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (482, 903) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 69242 |  |  | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
39 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.04567 | 0.005669 | 0.0037561 | 0.0021469 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (14, 867) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 69242 |  |  | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
40 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.045485 | 0.0057251 | 0.0037253 | 0.0022451 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (445, 888) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 981 |  |  | ('agg_grid_components_PkBudg650_2025', '04976f0700474d3ab45a323a3250a606') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
41 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.045485 | 0.0057251 | 0.0037253 | 0.0022451 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (484, 908) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 981 |  |  | ('agg_grid_components_PkBudg650_2030', '3ff01a280185494aa841771a62845f56') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
42 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.045485 | 0.0057251 | 0.0037253 | 0.0022451 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 861) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  | ('agg_grid_components_PkBudg650_2023', '7eb54f1c06de4c3bba31a7fa4be4e57b') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
43 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.045485 | 0.0057251 | 0.0037253 | 0.0022451 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (601, 949) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 981 |  |  | ('agg_grid_components_PkBudg650_2040', '7ee96d28c4c64fbca9ce23af0c7dcaa4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
44 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.045485 | 0.0057251 | 0.0037253 | 0.0022451 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (562, 940) | ('agg_ei311_SSP2_PkBudg650_2037', '11db2b16ca974240b1d129266120e641') | 981 |  |  | ('agg_grid_components_PkBudg650_2037', 'bfdce862205b4dee86d010e5d64adc08') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
45 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 0.045472 | 0.0057899 | 0.0021506 | 0.0022504 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 8938.719 | GLO | aggOverhead line, 150kV | (964, 970) | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 8938.719 |  |  | ('agg_grid_expansion_prospective', 'd255262e87634a91beee199c2050b39d') | 893.8719 |  | GLO | agggrid_PkBudg650_2045 | technosphere | 3
46 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 0.045273 | 0.0055912 | 0.0033848 | 0.0023482 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 8560.1404 | GLO | aggLand cable, epr insulated, copper, 11kV | (872, 966) | ('agg_grid_components_PkBudg650_2025', 'da022fe9c9ae421eb3714eba243cb0b8') | 8560.1404 |  |  | ('agg_grid_expansion_prospective', 'ca1d4ded108d4205bd5a5329ac710188') | 856.014 |  | GLO | agggrid_PkBudg650_2030 | technosphere | 3
47 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 0.045092 | 0.0052464 | 0.002319 | 0.0022476 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 9577.8756 | GLO | aggOverhead line, 150kV | (899, 969) | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 9577.8756 |  |  | ('agg_grid_expansion_prospective', '4110d941304845a696391a224c186de9') | 957.7876 |  | GLO | agggrid_PkBudg650_2035 | technosphere | 3
48 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044855 | 0.0049742 | 0.0023747 | 0.0018926 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (445, 885) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 7300 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
49 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044855 | 0.0049742 | 0.0023747 | 0.0018926 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (484, 899) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 7300 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
50 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044855 | 0.0049742 | 0.0023747 | 0.0018926 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 868) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
51 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.044855 | 0.0049742 | 0.0023747 | 0.0018926 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (601, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 7300 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
52 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 0.044829 | 0.0058257 | 0.003962 | 0.0022627 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 1689 | GLO | aggOverhead line, 400kV | (867, 977) | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 1689 |  |  | ('agg_grid_expansion_prospective', 'f9cccd2ee80a449ca453f53fc30e9090') | 168.9 |  | GLO | agggrid_PkBudg650_2025 | technosphere | 3
53 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 0.044767 | 0.0052182 | 0.0015967 | 0.0023953 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 14980.2458 | GLO | aggLand cable, epr insulated, copper, 11kV | (961, 970) | ('agg_grid_components_PkBudg650_2040', '052d57505fc641ca8b2eaae843c8281e') | 14980.2458 |  |  | ('agg_grid_expansion_prospective', 'd255262e87634a91beee199c2050b39d') | 1498.0246 |  | GLO | agggrid_PkBudg650_2045 | technosphere | 3
54 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 0.044523 | 0.0054839 | 0.0016437 | 0.0020248 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 2373.9143 | GLO | aggLand cable, oil insulated, copper, HVDC | (915, 976) | ('agg_grid_components_PkBudg650_2035', '0d96e8ad47424072a514a5d46a73b70f') | 2373.9143 |  |  | ('agg_grid_expansion_prospective', 'e8c58eb5a3db4ab28c54ba07a45adbcf') | 237.3914 |  | GLO | agggrid_PkBudg650_2037 | technosphere | 3
55 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2040 () [GLO] | 0.044244 | 0.0056494 | 0.0043232 | 0.002034 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2040 () [GLO] | 5363.2314 | GLO | aggOverhead line, 150kV | (936, 979) | ('agg_grid_components_PkBudg650_2037', '49e8049963294673bce8e689018cecaf') | 5363.2314 |  |  | ('agg_grid_expansion_prospective', '196257ee2b2f426db8fbb1aa4c81f60b') | 536.3231 |  | GLO | agggrid_PkBudg650_2040 | technosphere | 3
56 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 0.044199 | 0.0061838 | 0.0045916 | 0.001967 | T: FROM aggLand cable, vpe insulated, aluminium, 10kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 25680.4213 | GLO | aggLand cable, vpe insulated, aluminium, 10kV | (877, 966) | ('agg_grid_components_PkBudg650_2025', '18882416585744a5accf694e7dc1c3da') | 25680.4213 |  |  | ('agg_grid_expansion_prospective', 'ca1d4ded108d4205bd5a5329ac710188') | 2568.0421 |  | GLO | agggrid_PkBudg650_2030 | technosphere | 3
57 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 0.043944 | 0.0052007 | 0.0033161 | 0.002421 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 94025.2722 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (908, 969) | ('agg_grid_components_PkBudg650_2030', '3ff01a280185494aa841771a62845f56') | 94025.2722 |  |  | ('agg_grid_expansion_prospective', '4110d941304845a696391a224c186de9') | 9402.5272 |  | GLO | agggrid_PkBudg650_2035 | technosphere | 3
58 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 0.04377 | 0.0056377 | 0.0050501 | 0.0021035 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 37610.1089 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (925, 976) | ('agg_grid_components_PkBudg650_2035', '615fe02413f44965bdfa90963baf3a1a') | 37610.1089 |  |  | ('agg_grid_expansion_prospective', 'e8c58eb5a3db4ab28c54ba07a45adbcf') | 3761.0109 |  | GLO | agggrid_PkBudg650_2037 | technosphere | 3
59 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 0.04366 | 0.0061813 | 0.0019296 | 0.0025309 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2037 () [GLO] | 1689 | GLO | aggOverhead line, 400kV | (921, 976) | ('agg_grid_components_PkBudg650_2035', 'c295938996b7432291f80387c1ca7cea') | 1689 |  |  | ('agg_grid_expansion_prospective', 'e8c58eb5a3db4ab28c54ba07a45adbcf') | 168.9 |  | GLO | agggrid_PkBudg650_2037 | technosphere | 3
60 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 0.042999 | 0.0053272 | 0.0037419 | 0.0020833 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 5934.7857 | GLO | aggLand cable, oil insulated, copper, HVDC | (907, 969) | ('agg_grid_components_PkBudg650_2030', 'c63e8812d4bb46489362b5d6e38af459') | 5934.7857 |  |  | ('agg_grid_expansion_prospective', '4110d941304845a696391a224c186de9') | 593.4786 |  | GLO | agggrid_PkBudg650_2035 | technosphere | 3
61 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2040 () [GLO] | 0.042918 | 0.0062193 | 0.0032904 | 0.0024893 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2040 () [GLO] | 52301.9724 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (940, 979) | ('agg_grid_components_PkBudg650_2037', 'bfdce862205b4dee86d010e5d64adc08') | 52301.9724 |  |  | ('agg_grid_expansion_prospective', '196257ee2b2f426db8fbb1aa4c81f60b') | 5230.1972 |  | GLO | agggrid_PkBudg650_2040 | technosphere | 3
62 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.042271 | 0.0059884 | 0.0038541 | 0.0023574 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (443, 885) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 24852 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
63 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.042271 | 0.0059884 | 0.0038541 | 0.0023574 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (482, 899) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 24852 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
64 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.042271 | 0.0059884 | 0.0038541 | 0.0023574 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (14, 868) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 24852 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
65 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.042271 | 0.0059884 | 0.0038541 | 0.0023574 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (599, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '32d989b73e144e2ebfb4b8d64ec1da09') | 24852 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
66 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 0.042204 | 0.0047392 | 0.0019817 | 0.0025292 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2045 () [GLO] | 87169.9539 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (949, 970) | ('agg_grid_components_PkBudg650_2040', '7ee96d28c4c64fbca9ce23af0c7dcaa4') | 87169.9539 |  |  | ('agg_grid_expansion_prospective', 'd255262e87634a91beee199c2050b39d') | 8716.9954 |  | GLO | agggrid_PkBudg650_2045 | technosphere | 3
67 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 0.042183 | 0.0055171 | 0.0013071 | 0.0027327 | T: FROM aggOverhead line, 400kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 4222.5 | GLO | aggOverhead line, 400kV | (903, 969) | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 4222.5 |  |  | ('agg_grid_expansion_prospective', '4110d941304845a696391a224c186de9') | 422.25 |  | GLO | agggrid_PkBudg650_2035 | technosphere | 3
68 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.041408 | 0.0062016 | 0.0036131 | 0.0024192 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (443, 885) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 24852 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
69 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.041408 | 0.0062016 | 0.0036131 | 0.0024192 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (482, 899) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 24852 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
70 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.041408 | 0.0062016 | 0.0036131 | 0.0024192 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (14, 868) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 24852 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
71 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 0.041408 | 0.0062016 | 0.0036131 | 0.0024192 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 150kV () [GLO] | 24852 | GLO | aggmarket for steel, unalloyed | (599, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '32d989b73e144e2ebfb4b8d64ec1da09') | 24852 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 2485.2 |  | GLO | aggOverhead line, 150kV | technosphere | 3
72 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.041271 | 0.005547 | 0.0028092 | 0.0023518 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (448, 886) | ('agg_ei311_SSP2_PkBudg650_2025', '596060cffad34db8881ce657383f8b64') | 14700 |  |  | ('agg_grid_components_PkBudg650_2025', '023e32a8830a41a3a014c101e0a36229') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
73 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.041271 | 0.005547 | 0.0028092 | 0.0023518 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (487, 907) | ('agg_ei311_SSP2_PkBudg650_2030', 'db2c924f42374c0d82bee2ee55b57f59') | 14700 |  |  | ('agg_grid_components_PkBudg650_2030', 'c63e8812d4bb46489362b5d6e38af459') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
74 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.041271 | 0.005547 | 0.0028092 | 0.0023518 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (19, 865) | ('agg_ei311_SSP2_NPi_2023', 'ff0ee3032a8f4e159091f7cdebf426b5') | 14700 |  |  | ('agg_grid_components_PkBudg650_2023', 'f48b7beac1be4d4faa2f730282f1e034') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
75 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.040824 | 0.0055718 | 0.0024498 | 0.0025295 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (445, 888) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 981 |  |  | ('agg_grid_components_PkBudg650_2025', '04976f0700474d3ab45a323a3250a606') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
76 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.040824 | 0.0055718 | 0.0024498 | 0.0025295 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (484, 908) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 981 |  |  | ('agg_grid_components_PkBudg650_2030', '3ff01a280185494aa841771a62845f56') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
77 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.040824 | 0.0055718 | 0.0024498 | 0.0025295 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 861) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  | ('agg_grid_components_PkBudg650_2023', '7eb54f1c06de4c3bba31a7fa4be4e57b') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
78 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.040824 | 0.0055718 | 0.0024498 | 0.0025295 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (601, 949) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 981 |  |  | ('agg_grid_components_PkBudg650_2040', '7ee96d28c4c64fbca9ce23af0c7dcaa4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
79 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.040824 | 0.0055718 | 0.0024498 | 0.0025295 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (562, 940) | ('agg_ei311_SSP2_PkBudg650_2037', '11db2b16ca974240b1d129266120e641') | 981 |  |  | ('agg_grid_components_PkBudg650_2037', 'bfdce862205b4dee86d010e5d64adc08') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
80 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.040249 | 0.005911 | 0.0047025 | 0.0022872 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (448, 886) | ('agg_ei311_SSP2_PkBudg650_2025', '596060cffad34db8881ce657383f8b64') | 14700 |  |  | ('agg_grid_components_PkBudg650_2025', '023e32a8830a41a3a014c101e0a36229') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
81 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.040249 | 0.005911 | 0.0047025 | 0.0022872 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (487, 907) | ('agg_ei311_SSP2_PkBudg650_2030', 'db2c924f42374c0d82bee2ee55b57f59') | 14700 |  |  | ('agg_grid_components_PkBudg650_2030', 'c63e8812d4bb46489362b5d6e38af459') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
82 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.040249 | 0.005911 | 0.0047025 | 0.0022872 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (19, 865) | ('agg_ei311_SSP2_NPi_2023', 'ff0ee3032a8f4e159091f7cdebf426b5') | 14700 |  |  | ('agg_grid_components_PkBudg650_2023', 'f48b7beac1be4d4faa2f730282f1e034') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
83 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 0.039519 | 0.0056932 | 0.0038753 | 0.0024611 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 9577.8756 | GLO | aggOverhead line, 150kV | (885, 966) | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 9577.8756 |  |  | ('agg_grid_expansion_prospective', 'ca1d4ded108d4205bd5a5329ac710188') | 957.7876 |  | GLO | agggrid_PkBudg650_2030 | technosphere | 3
84 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 0.039446 | 0.0056889 | 0.0044907 | 0.0023734 | T: FROM aggLand cable, epr insulated, copper, 11kV [GLO] TO agggrid_PkBudg650_2035 () [GLO] | 8560.1404 | GLO | aggLand cable, epr insulated, copper, 11kV | (897, 969) | ('agg_grid_components_PkBudg650_2030', 'c55879fa93a441a1ac4aa571c37e8693') | 8560.1404 |  |  | ('agg_grid_expansion_prospective', '4110d941304845a696391a224c186de9') | 856.014 |  | GLO | agggrid_PkBudg650_2035 | technosphere | 3
85 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 0.038408 | 0.0052589 | 0.0026933 | 0.0022349 | T: FROM aggLand cable, vpe insulated, aluminium, 0.4kV [GLO] TO agggrid_PkBudg650_2030 () [GLO] | 94025.2722 | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | (888, 966) | ('agg_grid_components_PkBudg650_2025', '04976f0700474d3ab45a323a3250a606') | 94025.2722 |  |  | ('agg_grid_expansion_prospective', 'ca1d4ded108d4205bd5a5329ac710188') | 9402.5272 |  | GLO | agggrid_PkBudg650_2030 | technosphere | 3
86 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038361 | 0.0050317 | 0.0051377 | 0.0021832 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (445, 888) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 981 |  |  | ('agg_grid_components_PkBudg650_2025', '04976f0700474d3ab45a323a3250a606') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
87 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038361 | 0.0050317 | 0.0051377 | 0.0021832 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (484, 908) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 981 |  |  | ('agg_grid_components_PkBudg650_2030', '3ff01a280185494aa841771a62845f56') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
88 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038361 | 0.0050317 | 0.0051377 | 0.0021832 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 861) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  | ('agg_grid_components_PkBudg650_2023', '7eb54f1c06de4c3bba31a7fa4be4e57b') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
89 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038361 | 0.0050317 | 0.0051377 | 0.0021832 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (601, 949) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 981 |  |  | ('agg_grid_components_PkBudg650_2040', '7ee96d28c4c64fbca9ce23af0c7dcaa4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
90 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.038361 | 0.0050317 | 0.0051377 | 0.0021832 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (562, 940) | ('agg_ei311_SSP2_PkBudg650_2037', '11db2b16ca974240b1d129266120e641') | 981 |  |  | ('agg_grid_components_PkBudg650_2037', 'bfdce862205b4dee86d010e5d64adc08') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
91 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.037866 | 0.0058426 | 0.003132 | 0.0021941 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (448, 886) | ('agg_ei311_SSP2_PkBudg650_2025', '596060cffad34db8881ce657383f8b64') | 14700 |  |  | ('agg_grid_components_PkBudg650_2025', '023e32a8830a41a3a014c101e0a36229') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
92 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.037866 | 0.0058426 | 0.003132 | 0.0021941 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (487, 907) | ('agg_ei311_SSP2_PkBudg650_2030', 'db2c924f42374c0d82bee2ee55b57f59') | 14700 |  |  | ('agg_grid_components_PkBudg650_2030', 'c63e8812d4bb46489362b5d6e38af459') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
93 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 0.037866 | 0.0058426 | 0.003132 | 0.0021941 | T: FROM aggmarket for copper, cathode [GLO] TO aggLand cable, oil insulated, copper, HVDC () [GLO] | 14700 | GLO | aggmarket for copper, cathode | (19, 865) | ('agg_ei311_SSP2_NPi_2023', 'ff0ee3032a8f4e159091f7cdebf426b5') | 14700 |  |  | ('agg_grid_components_PkBudg650_2023', 'f48b7beac1be4d4faa2f730282f1e034') | 1470 |  | GLO | aggLand cable, oil insulated, copper, HVDC | technosphere | 3
94 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 0.037354 | 0.0056016 | 0.0024189 | 0.0023017 | T: FROM aggOverhead line, 150kV [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 3831.1503 | GLO | aggOverhead line, 150kV | (868, 977) | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 3831.1503 |  |  | ('agg_grid_expansion_prospective', 'f9cccd2ee80a449ca453f53fc30e9090') | 383.115 |  | GLO | agggrid_PkBudg650_2025 | technosphere | 3
95 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.037112 | 0.0048823 | 0.0039289 | 0.0025899 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (445, 888) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 981 |  |  | ('agg_grid_components_PkBudg650_2025', '04976f0700474d3ab45a323a3250a606') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
96 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.037112 | 0.0048823 | 0.0039289 | 0.0025899 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (484, 908) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 981 |  |  | ('agg_grid_components_PkBudg650_2030', '3ff01a280185494aa841771a62845f56') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
97 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.037112 | 0.0048823 | 0.0039289 | 0.0025899 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (16, 861) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 981 |  |  | ('agg_grid_components_PkBudg650_2023', '7eb54f1c06de4c3bba31a7fa4be4e57b') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
98 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.037112 | 0.0048823 | 0.0039289 | 0.0025899 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (601, 949) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 981 |  |  | ('agg_grid_components_PkBudg650_2040', '7ee96d28c4c64fbca9ce23af0c7dcaa4') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
99 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 0.037112 | 0.0048823 | 0.0039289 | 0.0025899 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggLand cable, vpe insulated, aluminium, 0.4kV () [GLO] | 981 | GLO | aggmarket for aluminium, wrought alloy | (562, 940) | ('agg_ei311_SSP2_PkBudg650_2037', '11db2b16ca974240b1d129266120e641') | 981 |  |  | ('agg_grid_components_PkBudg650_2037', 'bfdce862205b4dee86d010e5d64adc08') | 98.1 |  | GLO | aggLand cable, vpe insulated, aluminium, 0.4kV | technosphere | 3
100 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.036488 | 0.0053973 | 0.0036152 | 0.0020863 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (445, 883) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 18466 |  |  | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
101 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.036488 | 0.0053973 | 0.0036152 | 0.0020863 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (484, 903) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 18466 |  |  | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
102 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 0.036488 | 0.0053973 | 0.0036152 | 0.0020863 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 400kV () [GLO] | 18466 | GLO | aggmarket for aluminium, wrought alloy | (16, 867) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 18466 |  |  | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 1846.6 |  | GLO | aggOverhead line, 400kV | technosphere | 3
103 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.035738 | 0.0055136 | 0.0055899 | 0.0025759 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (445, 885) | ('agg_ei311_SSP2_PkBudg650_2025', 'db50768751d54c68a21e1699e513ffd8') | 7300 |  |  | ('agg_grid_components_PkBudg650_2025', '3e54fdb61fab4b1080e65e8bd1925746') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
104 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.035738 | 0.0055136 | 0.0055899 | 0.0025759 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (484, 899) | ('agg_ei311_SSP2_PkBudg650_2030', '373338af1a0d4fde949ad87c721801e4') | 7300 |  |  | ('agg_grid_components_PkBudg650_2030', '6c6f9d2c1c7040c0a299d8c3eb7f2e1f') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
105 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.035738 | 0.0055136 | 0.0055899 | 0.0025759 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (16, 868) | ('agg_ei311_SSP2_NPi_2023', '9ac14a9ea22445bf9f5aa080a45d41eb') | 7300 |  |  | ('agg_grid_components_PkBudg650_2023', '3bb01904930a4294b80a1bed73101004') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
106 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 0.035738 | 0.0055136 | 0.0055899 | 0.0025759 | T: FROM aggmarket for aluminium, wrought alloy [GLO] TO aggOverhead line, 150kV () [GLO] | 7300 | GLO | aggmarket for aluminium, wrought alloy | (601, 964) | ('agg_ei311_SSP2_PkBudg650_2040', '25eefdb7642c4370b9dbf802b834508a') | 7300 |  |  | ('agg_grid_components_PkBudg650_2040', 'f3e62d66bb7045a699aa095d5fa5d654') | 730 |  | GLO | aggOverhead line, 150kV | technosphere | 3
107 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.035719 | 0.0057855 | 0.004436 | 0.0021226 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (443, 883) | ('agg_ei311_SSP2_PkBudg650_2025', '77d7eb1d6dec42059484a183427ce5dc') | 69242 |  |  | ('agg_grid_components_PkBudg650_2025', '47c2dc22834642e2b6652f973fc1a1f0') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
108 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.035719 | 0.0057855 | 0.004436 | 0.0021226 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (482, 903) | ('agg_ei311_SSP2_PkBudg650_2030', 'da327794db77415993c3d0ce98882ed3') | 69242 |  |  | ('agg_grid_components_PkBudg650_2030', 'e8535ffd1cc7436b9fe16dbbcd5f939f') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
109 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 0.035719 | 0.0057855 | 0.004436 | 0.0021226 | T: FROM aggmarket for steel, unalloyed [GLO] TO aggOverhead line, 400kV () [GLO] | 69242 | GLO | aggmarket for steel, unalloyed | (14, 867) | ('agg_ei311_SSP2_NPi_2023', '5c124103b7e24e59a44571c230b4ad84') | 69242 |  |  | ('agg_grid_components_PkBudg650_2023', '16069d7a5a394b2b90f75c60cf23f0ba') | 6924.2 |  | GLO | aggOverhead line, 400kV | technosphere | 3
110 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 0.034951 | 0.0055072 | 0.0024183 | 0.0021691 | T: FROM aggLand cable, oil insulated, copper, HVDC [GLO] TO agggrid_PkBudg650_2025 () [GLO] | 2373.9143 | GLO | aggLand cable, oil insulated, copper, HVDC | (865, 977) | ('agg_grid_components_PkBudg650_2023', 'f48b7beac1be4d4faa2f730282f1e034') | 2373.9143 |  |  | ('agg_grid_expansion_prospective', 'f9cccd2ee80a449ca453f53fc30e9090') | 237.3914 |  | GLO | agggrid_PkBudg650_2025 | technosphere | 3